PURDUE UNIVERSITY

Appendix D2 – Equipment Lockout Work Plan

## LOCKOUT/TAGOUT PROGRAM:  
Equipment Lockout Work Plan

| Equipment: |  |  | Location: |  |
| --- | --- | --- | --- | --- |
| Work Scope: |  |
| Contact Person: |  |
| Energy Flow to be Controlled (Check All that Apply) |
| Steam | Natural Gas | Moving Parts | Chemicals |
| Electric Power | Compressed Air | Pneumatic |  |  |
| Control Power | Water | Hydraulic |  |  |
| Lockout Checklist |
| Complete an Equipment Lockout Plan |
| Identify all energy sources |
| Notify affected employees |
| The equipment has been removed from service |
| The equipment has been isolated |
| Apply lockout devices |
| Reduce equipment to a zero energy state |
| Test and Verify equipment isolation |
| Perform Task |
| Notify Supervisor when equipment is available for service |
| Return all lockout devices to proper storage |

| Lockout Points |
| --- |
| Hazard | Action Required | Lock # | Name | Lock On | Lock Off |
| Hazard | Action Required | Lock # | Name | Lock On | Lock Off |