Standard Operating Procedure

Acid Piranha Solution

This is an SOP template and is not complete until: 1) lab specific information is entered into the box below 2) lab specific protocol is added to the protocol section and 
3) SOP has been signed and dated by the PI and relevant lab personnel.

Print a copy and insert into your Lab-Specific Chemical Hygiene Plan.

Section 1 – Lab-Specific Information

| Department: | Click here to enter text. |
| --- | --- |
| Date SOP was written: | Click here to enter a date. |
| Date SOP was approved by PI: | Click here to enter a date. |
| Date SOP was revised: | Click here to enter a date. |
| Principal Investigator: | Click here to enter text. |
| Lab Safety Coordinator/Lab manager: | Click here to enter text. |
| Lab Phone: | Click here to enter text. |
| Office Phone: | Click here to enter text. |
| Emergency Contact: | Click here to enter text. |
| Location(s) covered by this SOP: | Click here to enter text. |

Section 2 – Type of SOP

☐ Process            ☒Hazardous Chemical            ☐ Hazardous Class

Section 3 -  Physical / Chemical Properties and Uses

Physical / Chemical Properties:

| Composition | CAS# | Percent (Add Lab specific %) | Hazardous |
| --- | --- | --- | --- |
| Sulfuric Acid | 7664-93-9 | 70% | Yes |
| Hydrogen Peroxide (30%) | 7722-84-1 | 30% | Yes |
| Water | 7732-18-5 |  | No |

Any change in the composition will require a new SOP with a new approval obtained from the Principal Investigator and in consultation with EHS.

GHS Classification: Oxidizer; Corrosive

Molecular Formula: H₂SO₄+H₂O₂

Form (physical state): fuming liquid

Color: colorless, may be very slightly cloudy or yellow

Boiling point:  226.4°F (108°C)

Uses:

Piranha solution is used to dissolve and clean organics off glass and other labware.

Section 4 – Potential Hazards

Piranha solution, also known as Piranha etch, is a mixture of sulfuric acid (H2SO4) and hydrogen peroxide (H2O2) used to clean organic residues off substrates. Piranha solution is very dangerous, being both strongly acidic and a strong oxidizer. Both the liquid and vapor are extremely corrosive to the skin and respiratory tract. Direct contact will cause skin burns and will damage mucous membranes, the upper respiratory tract and eyes. Piranha solution is very energetic, exothermic, and potentially explosive. Mixing the solution is exothermic. The resultant heat can bring solution temperatures up to 120°C. Handle with care! When preparing the Piranha solution, always add the hydrogen peroxide to the acid. One must allow the solution to cool reasonably before applying any heat. Sudden increase in temperature can lead to violent boiling or splashing of the extremely acidic solution. Explosions may occur if the concentration of the hydrogen peroxide solution is more than 50%. A solution of 30% hydrogen peroxide in water is more acceptable. Piranha solution reacts violently with any organic materials. Avoid mixing with incompatible materials such as acids, bases, organic solvents or nylon. Only use clean glass or Pyrex containers to store; Piranha solutions are not compatible with plastic.

Potential Health Effects:

Airborne Exposure Limits:

For Sulfuric Acid

OSHA PEL 8-hour TWA: 1 mg/m³

ACGIH TLV 8-hour TWA: 0.2 mg/m³ (thoracic particulate matter) [2000]

For Hydrogen Peroxide

OSHA PEL 8-hour TWA: 1.4 mg/m³

NIOSH REL Up to 10-hour TWA: 1.4 mg/m³

ACGIH TLV 8-hour TWA: 1.4 mg/m³  [1990]

Ventilation System:

A system of local and/or general exhaust is recommended to keep employee exposures below the Airborne Exposure Limits. Local exhaust ventilation is generally preferred because it can control the emissions of the contaminant at its source, preventing dispersion of it into the general work area. Please refer to the ACGIH document, "Industrial Ventilation, A Manual of Recommended Practices", most recent edition, for details.

Personal Respirators (NIOSH Approved):

If the exposure limit is exceeded, wear a supplied air, full-facepiece respirator, airlined hood, or full-facepiece self-contained breathing apparatus. Canister-type respirators using sorbents are ineffective.

Skin Protection:

Wear impervious protective clothing, including boots, gloves, lab coat, apron or coveralls, as appropriate, to prevent skin contact.

Eye Protection:

Use chemical safety goggles and/or a full face shield where splashing is possible. Maintain eye wash fountain and quick-drench facilities in work area.

Section 5 – Personal Protective Equipment (PPE) and Engineering Controls

Hand Protection: Handle with gloves. Regular Nitrile gloves do not provide sufficient protection. Heavy duty neoprene or butyl rubber gloves must be worn.

Eye Protection: ANSI approved properly fitting chemical splash goggles and a face shield are required.

Skin and Body Protection: Laboratory coats must be worn and be appropriately sized for the individual and buttoned to their full length. Additional protection such as acid-resistant apron may be appropriate as well. Personnel must also wear full length pants, or equivalent, and close-toed shoes. Full length pants and close-toed shoes must be worn at all times by all individuals that are occupying the laboratory area. The area of skin between the shoe and ankle must not be exposed.

Respirator Protection: If Piranha solutions are being used outside of a chemical fume hood, respiratory protection may be required. If this activity is absolutely necessary, contact EHS (49-46371) so a respiratory protection analysis can be performed.

Engineering Controls: If Piranha solutions are being used outside of a chemical fume hood, respiratory protection may be required. If this activity is necessary, contact EHS (49-46371) so a respiratory protection analysis can be performed.

Hygiene Measures: Avoid contact with skin, eyes, and clothing. Wash hands before breaks and immediately after handling the product.

Section 6 – Engineering Controls

Engineering Controls: Use of Piranha should be conducted in a properly functioning chemical fume hood whenever possible. The chemical fume hood must be approved and certified by EHS and have a face velocity between 80 – 125 feet per minute.

Section 7 – First Aid Procedures

If inhaled:

Dial 911. Move to fresh air immediately and seek medical attention. If the person is not breathing, give artificial respiration. Avoid mouth to mouth contact. Seek medical attention.

In case of skin contact:

Dial 911. Immediately (within seconds) flush affected area with plenty of water for at least 15 minutes. Remove all contaminated clothing. Seek medical attention.

In case of eye contact:

Dial 911. Immediately flush eyes with water for at least 15 minutes. Seek medical attention.

If swallowed:

Dial 911. Do not induce vomiting. Drink large quantities of water or milk. Never administer anything by mouth to unconscious person. Seek medical attention.

Section 8 – Special Handling and Storage Requirements

- Before using Piranha solution, more stable cleaning solutions should be tried. Often, glassware can be cleaned if left with a cleaning solution. An example of a suitable substitute, prior to using Piranha, is 98% Sulfuric acid.

- A current copy of the Piranha solution components’ SDS must be made available to all personnel working in the laboratory at all times. Always use glass (preferably Pyrex) containers. Piranha will melt plastics.

- Piranha solution should be used freshly-prepared, due to the self-decomposition of hydrogen peroxide. Do not maintain a stock solution of the Piranha mixture.

- Prepare small amounts of solution to be used for each application. Mix the solution in a fume hood with the sash between you and the solution. The solution may be mixed before application or directly applied to the material, applying the Sulfuric acid first, followed by the peroxide.

- When preparing the Piranha solution, always add the hydrogen peroxide to the sulfuric acid. Hydrogen peroxide concentrations should be kept below 30%, and should never exceed 50%.

- Piranha solution should never be left unattended if hot.

- Once finished, allow the hot Piranha solution to cool down to room temperature in a temporarily opened or vented container.

- Never fully seal containers containing Piranha solution. Avoid using airtight containers as pressure can build up inside of them. Oxygen given off during the self-decomposition of hydrogen peroxide, as well as the oxidation products of organic compounds can cause an increase in pressure, leading to the rupturing of the container.

- Mixing hot Piranha with organic compounds may cause an explosion. This includes acetone, photoresist, isopropyl alcohol, other organic solvents, and nylon.

Section 9 – Spill and Accident Procedures

Immediately evacuate area and ensure others are aware of the spill. If there is an imminent threat of a fire, pull the nearest fire alarm station to evacuate the building and dial 911. If personnel have become exposed and need medical assistance, dial 911. If the spill is minor and does not pose a threat to personnel, contact EHS at 49-40121 during normal business hours (Monday – Friday, 7 AM – 4 PM) for spill cleanup assistance (dial 911 if spill occurs after hours and assistance is needed).

Section 10 – Medical Emergency

Life Threatening Emergency, After Hours, Weekends and Holidays:

Dial 911.

Non-Life Threatening Emergency:

Dial 911.

Section 11 – Waste Disposal Procedures

Complete a Chemical Waste Pickup Request Form to arrange for disposal by EHS; detailed instructions are provided at the following link: http://www.purdue.edu/ehps/rem/hmm/chemwaste.htm. Properly label the container listing the chemical constituents, and store in a designated area. Due to several incidents involving container over pressurization, we ask that you use a vented cap on your Piranha solution container. When we collect these containers we will replace the vent cap with a conventional waste cap and leave the vented cap in the lab for future use.

Section 12 - Safety Data Sheet

A current copy of the SDS must be made available to all personnel working in the laboratory at all times. To obtain a copy of the SDS, contact the chemical manufacturer. Many manufacturers’ SDSs can be found online on websites.

# Section 13 – Protocol (Additional lab protocol may be added here)

Click here to enter text.

NOTE: Any deviation from this SOP requires approval from Principal Investigator.

# Section 14 – Documentation of Training (signature of all users is required)

- Prior to conducting any work with Piranha solution, the Principal Investigator must ensure that all laboratory personnel receive training on the content of this SOP.

- Prior to conducting any work with Piranha solution, designated personnel must provide training to his/her laboratory personnel specific to the hazards involved in working with this substance, work area decontamination, and emergency procedures.

- The Principal Investigator must provide his/her laboratory personnel with a copy of this SOP and a copy of the SDS provided by the manufacturer.

- The Principal Investigator must ensure that his/her laboratory personnel have attended appropriate laboratory safety training or refresher training within the last one year.

| Name | Signature | Date |
| --- | --- | --- |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |