PURDUE UNIVERSITY

Confined Space Program

Confined Space Entry Permit

| Permit Number: |  | Department/Shop: |  |
| --- | --- | --- | --- |

| Location: |  | Work Description: |  |
| --- | --- | --- | --- |

Atmospheric and Engulfment Hazards

Check all expected hazards:

Oxygen deficiency (< 19.5%)

Fire hazard (more than 23.5% oxygen or more than 10% of the LEL)

Toxic gases, vapors, or dust (greater than PEL or TLV)

Heat stress/Engulfment

| Other: |  |
| --- | --- |

Hot Work Permit (Must be attached, obtained from FES)

Entry Team Duties

Check and identify all that apply:

| Entry Supervisor | ###### Entrant | Attendant | Name |
| --- | --- | --- | --- |

Safety Controls and Communication Procedures

| Equipment Required for Entry: | Isolation: |
| --- | --- |
| Fall protection equipment | Electrical equipment locked out and tagged |
| Air mover/ventilator | Mechanical equipment locked out and tagged |
| GFCI | Entry ways are blocked open |
| Hearing Protection | Isolation valves closed and locked |
| Eye Protection | Proper ventilation or purging completed |
| Hard Hat | Operations notified and understands clearly |
| Other Personal Protective Equipment: | Communications: |
|  | Access to phone |
|  | Radio |

Atmospheric Testing Record

Continuous	 Periodic

| Date/Time |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Oxygen (19.5%-22%) |  |  |  |  |  |
| Flam. (< 10% LEL) |  |  |  |  |  |
| H2S (< 10 ppm) |  |  |  |  |  |
| CO (< 200 ppm) |  |  |  |  |  |
| Other: |  |  |  |  |  |

| Manufacturer: |  | Model: |  | SN: |  | Last Cal. Date: |  | Initials: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Authorization/Termination by Entry Supervisor

I certify that all required precautions have been taken and the necessary entry equipment has been provided to safely work in this confined space.

| Authorized Name: |  | Authorized Signature: |  |
| --- | --- | --- | --- |

| Entrant Signature: |  | Attendant Signature: |  |
| --- | --- | --- | --- |

| Permit Initiated: |  | Duration: |  | Date: |  | Time: |  |
| --- | --- | --- | --- | --- | --- | --- | --- |