PURDUE UNIVERSITY

Confined Space Program

Non-Permit Confined Space Certification

This document certifies that

has been cleared for a change in status from a Permit Confined Space to a Non-Permit Confined Space provided that the below conditions are met.

All entrants/attendants involved in any entry have completed the University’s Confined Space Entry training.

All hazards other than atmospheric (e.g., lockout/tag out) can be completed without entry.

Any conditions making it unsafe to remove an entrance cover is eliminated before the cover is removed.

After removing coverings from horizontal openings, the entrance is promptly guarded by a railing or temporary cover/ barrier to prevent accidental fall through the opening.

Before entering space, atmospheric testing is completed with the University’s Confined Space Meter to ensure the following:

- Oxygen content greater than 19.5% and less than 23.5% (19.5% < O2 < 23.5%)

- Flammable gases or vapors less than 10% LEL (i.e., Flammbale Gas or Vapors < 10% LEL)

- Potential toxic air contaminants less than 50 ppm CO (CO < 50 ppm) and less than 20 ppm H2S (H2S < 20 ppm)

If the above atmospheric conditions are not met, forced air ventilation may be used if it can maintain them.

Please attach at least 3 previous entry permits for the specific location.

| Date: |  | Certification Completed By: |  |
| --- | --- | --- | --- |