ANALYSIS OF IRON IN FOODS

Background Information:

Iron is an important mineral in our diets.  Although considered a trace mineral (one that is needed in relatively small quantities), diets lacking iron can contribute to the deficiency condition known as anemia.  Certain foods, such as raisins, liver, and spinach, are natural sources of iron.  Other foods, such as breads and cereals, are “fortified” with additional iron.

The test for the iron (III) ion is done in solution and is based on the following reaction:

Fe3+(aq)  +   SCN-(aq)  (  Fe(SCN)2+(aq)

The deep read color of the iron (III) thiocyanate ion is directly related to the concentration of iron (III) originally present in the solution.  Iron in foods is in the form of either iron (II) or iron (III).  In this test, all iron in the original sample is either converted to iron (III) ions or is not determined through the thiocyanate test.

Materials/Equipment:

0.001 M Fe(NO3)3 solution in 0.1 M HCl

0.1 M KSCN

0.1 M HCl

2.0 M HCl

Distilled water

various food items (raisins, cereals, peas—cooked/uncooked, etc.)

crucible

ring stand, ring, Bunsen burner

funnel

filter paper

beakers

20x150 mm test tubes/test tube rack

Spectrophotometer or UV-VIS

cuvettes

Procedure:

Preparing the Standards

- Prepare the following solutions in five test tubes.  Thoroughly mix each with a stirring rod.

| Test Tube | 0.001 M Fe(NO3)3 (mL) | H2O (mL) | Concentration (mM/L) |
| --- | --- | --- | --- |
| 1 | 0 | 20 mL 0.1 M HCl | 0.00 |
| 2 | 5 | 15 | 0.25 |
| 3 | 10 | 10 | 0.50 |
| 4 | 15 | 5 | 0.75 |
| 5 | 20 | 0 | 1.00 |

- Add 2.5 mL of 0.1 M KSCN to each test tube.  Mix well.  A red color should result from the formation of the FeSCN2+ ion.

Preparing the Food Samples

- Weigh out about 2.5 g of the solid food and place in a crucible.

- Heat the crucible with a hot burner flame until the food sample has turned to ash.  This should take approximately 5-20 minutes depending on the food sample used.

- Remove the burner and allow the ash to cool.  When cool, transfer to a small beaker.

- Add 10 mL of 2.0 M HCl and carefully stir for one minute.  Add 10 mL of distilled water.  Stir.

- Filter the mixture; collect the filtrate.  Add 2.5 mL of 0.1 M KSCN.  Mix well.

Finding the Absorbance

- Use a spectrophotometer at a wavelength of 458 nm or use the fixed wavelength (458 nm) on the UV-VIS.

- Place each standard solution and food solution into a separate cuvette.

- Measure and record the absorbance of each solution.

Data Analysis:

- Prepare a standard curve (Beer’s Law) of the standard concentrations vs. absorbance.

- Use the standard curve to determine the iron (III) concentration of the food samples you tested.

Calculations/Questions:

- Convert the concentration from mM/L to mg/L of Fe3+.

- Determine the number of milligrams of Fe3+ in your 20mL sample.

- Record the mass of an average serving of the food you tested.  You used approximately 2.5 g of your original food.  Determine the number of mg of iron in an average serving of your food sample.

- The RDA for iron ranges from 10 mg to 15 mg.  Assume an average RDA value of 12 mg iron.  Calculate what percentage of the average RDA is supplied by an average serving of your food in milligrams.